## Slide 1: Future trends in diamond detectors for beam diagnostics purposes
Workshop Beam Dynamics meets Diagnostics
Erich Griesmayer, CIVIDEC Instrumentation
Florence, November 4-6, 2015

## Slide 2: Content
Past
Presence
Future

## Slide 3: Content
Past
Presence
Future

## Slide 4
Charged Particles

## Slide 5: 2003 – First single proton
2003: First single proton pulses with a diamond detector recorded with sub-nanosecond signal response.

## Slide 6: 25.11.2003 Bloomington

## Slide 7: Bloomington, Indiana

## Slide 8: Bloomington, Indiana

## Slide 9: Prototypes ….

## Slide 10: 25.11.2003 Bloomington
Bloomington, indiana

## Slide 11: 2004 MIT
MIT, MGH

## Slide 12: 2004 – ATLAS BCM
2004: First diamond detector at CERN for the ATLAS experiment.

## Slide 15: ATLAS inner detector

## Slide 16: ATLAS BCM
Bunch-by-bunch analysis of LHC collisions and background
Courtesy H. Pernegger
CERN, ATLAS

## Slide 17: Beam Loss Monitoring
2010: Diamond Beam Loss Monitor for the LHC accelerator at CERN for machine protection purposes.

## Slide 19: LHC Diamond Beam Loss Monitors
CERN LHC IP 7
CERN, LHC

## Slide 20: Bunch-by-bunch losses
Pulse shape of losses, 25 ns bunch separation, 0.8 ns sampling period.
Courtesy T. Baer
CERN, LHC

## Slide 21: Static operation
12 pilot bunches
3 us beam abort gap
1 us LHC injection gap
0.2 us SPS injection gap
Static losses after ramp - 90 us turn period
Batches of 4x36 bunches, 3 us beam abort gap, injection gaps: LHC = 1 us, SPS = 0.2 us
12 pilot bunches
Courtesy T. Baer
CERN, LHC

## Slide 22: Bunch-by-Bunch Losses
Time loss histogram as recorded with the 40 MHz bunch clock signal, 25 ns loss separation, 1.2 ns time resolution
Time = Phase
# of Losses
1 ns time resolution
CERN, LHC

## Slide 23: Single-Bunch Instability
Single-bunch instabilities at the end of a squeeze
Single-bunch instability
Courtesy T. Baer
CERN, LHC

## Slide 24: Tune measurement
Horizontal tune = 0.307. Resolution = 10-3. Reference tune: BBQ = 0.307.
Frequency
Spectral Amplitude
Tune of a single LHC bunch
Courtesy T. Baer
CERN, LHC

## Slide 25: Cryogenic detector: LHC Quadrupole

## Slide 26: Cryogenic Diamond Detector
Operated inside the LHC quadrupoles at 20 K and UHV conditions

## Slide 27: LHC Quadrupole
20 K
10-4 mbar

## Slide 28: Speed-of-Light
2012: Verification of the speed of light at the CNGS experiment at CERN.

## Slide 29: Time resolution
14.6 ns time resolution
CERN, CNGS
Courtesy H. Jansen

## Slide 30: Medical application

## Slide 31: RF Structure
j
RF = 106 MHz (9.4 ns period)
Detector signal (3 ns FWHM)
IBA, LLN

## Slide 32: Time resolution
20 ps

## Slide 33: High-Radiation Detector

## Slide 34: HiRadMat
Courtesy F. Burkart

## Slide 35: HiRadMat
1x109 protons per bunch
Courtesy F. Burkart

## Slide 36: Target
Courtesy J. Sanchez

## Slide 37
1x109 protons per bunch
Courtesy D. Deboy

## Slide 38: Linearity
HiRadMat
Daphne
CNGS
LHC DBLM
HiRadMat
Frascati
CNGS
LHC
Lab source
Courtesy F. Burkart, O. Stein

## Slide 39: Content
Past
Presence
Future

## Slide 40
Neutrons

## Slide 41: Innovation
Neutron spectroscopy for the n_TOF facility at CERN.

## Slide 42: n_TOF Facility

## Slide 43: n_TOF at CERN
Neutrons
Vacuum Chamber
Spectroscopic amplifiers

## Slide 44: CERN n_TOF facility
Protons
Neutrons
Pb-target
Diamond detector
200 m
Neutrons

## Slide 45: Diamond-Mosaic Detector

## Slide 46: Energy spectrum
Courtesy C. Weiss
CERN, n_TOF

## Slide 47: Neutron interaction in diamond
Courtesy C. Weiss
CERN, n_TOF

## Slide 48
Vienna TRIGA MARK-II research reactor

## Slide 49: TRIGA MARK-II research reactor

## Slide 50: Li - conversion
g

## Slide 51: Tritons + gammas
Gamma
background
Tritons
Conventional spectroscopy
Courtesy P. Kavrigin
TU Wien, ATI

## Slide 52: Tritons + alphas + gammas
Selective spectroscopy
Courtesy P. Kavrigin

## Slide 53: Reactor core

## Slide 54: Detector response
Courtesy B. Morgenbesser
TU Wien, ATI

## Slide 55
14 MeV Neutrons

## Slide 56: Van de Graaf
PTB Braunschweig, Germany
IRMM Geel, Belgium
14 MeV neutrons
200 keV FWHM
Courtesy C. Weiss
IRMM, Belgium

## Slide 57: 14 MeV neutrons
Courtesy C. Weiss
IRMM, Belgium

## Slide 58: 14 MeV neutrons
Courtesy C. Weiss
Amplitude trigger
IRMM Geel, Belgium

## Slide 59: 14 MeV neutrons
Selective spectropscopy
Courtesy C. Weiss
IRMM Geel, Belgium

## Slide 60
X-Rays

## Slide 61: Innovation
X-ray BPM for the Diamond Light Source, UK.

## Slide 62: XBPM

## Slide 63: Chris Bloomer & B16
Diamond Light Source

## Slide 64: XBPM
Diamond Light Source

## Slide 65: Detector linearity
I[A] = 0.06 ∙ P [W]
34 nA measured
36 nA calculated
Perfect linearity
Courtesy C. Bloomer
Diamond Light Source

## Slide 66: Position response
Courtesy C. Bloomer
Diamond Light Source

## Slide 67: Beam position
Calculated beam position
Courtesy C. Bloomer
Diamond Light Source

## Slide 68: Position resolution
10-2
10-3
10-4
Courtesy C. Bloomer
2 nm
Diamond Light Source
Notes: In this simple case of a square beam, to convert the Δ/Σ signal imbalance into a real beam position one must multiply it by 0.5×beamsize.

## Slide 69: Linear range
Courtesy P. Kavrigin

## Slide 70: Content
Past
Presence
Future

## Slide 71: Interviews
D. Twitchen, Element Six Ltd
Prof. D S Misra, IIa Technologies Singapore
Jeremy Brison, IBA, Proton Therapy
Bernd Dehning, CERN BI
L. Vitale, INFN Trieste, BELLE and SUPERKEKB
M. Tardocchi, CNR Milano
P. Bergonzo, CEA Saclay
J. Marroncle, CEA, IFMIF

## Slide 72: Diamond producing industry
D. Twitchen, Element Six Ltd.
Challenges and opportunities in high-energy phyiscs, medical dosimetry and neutron measurements
Few skilled intermediates like CIVIDEC who had relevant application know-how and device experience to turn a diamond into a detector.
Assuming strong commercial model sCVD detectors with area >25 mm will be available in 3-5 years.
X1

## Slide 73: Diamond producing industry
Prof. D S Misra, IIa Technologies Singapore
"The pace of CVD diamond research in growth and application is quickening with new researchers and new suppliers on the horizon.
I visualize appearance of the large sCVD plates of 1cm x 1cm with very high crystalline quality appearing soon.”
X2

## Slide 74: Industry
Jeremy Brison, IBA, Proton Therapy
“There is an interesting idea on the use of diamonds to measure directly the beam energy of synchro-cyclotrons, but I have to wait an info from our IP department to know if it’s patentable.”
X3

## Slide 75: Beam diagnostics
Bernd Dehning, CERN BI
Radiation hardness
Dynamic range
Time resolution & Counting rate
Cryogenic & compact
Beam observations and not in equipment protection.
X4

## Slide 76: Experiments
L. Vitale, INFN Trieste, BELLE and SUPERKEKB
Cope with unprecedented luminosity of 8x1035 cm-2s-1.
Monitor radiation rate and radiation dose.
Fast response for system protection.
Diamonds next to interaction regions.
X5

## Slide 77: Neutron diagnostics
M. Tardocchi, CNR Milano
Used for DD and DT fusion reactions
Used for spallation processes.
High counting rates, high energy resolution, compact size, gamma discrimination.
X6

## Slide 78: Dosimetry
P. Bergonzo, CEA Saclay
Solid market for dosimetry (real-time, tissue equivalent, good signal).
Unpredictable market for synchrotron beam monitoring (one device per beam line due to high stability & life-time).
No market for nuclear plants: diamonds will never match ionization chamber.
X7

## Slide 79: New neutron facilities
J. Marroncle, CEA, IFMIF
“New beam facilities are arriving on the market, like neutron sources.
Not easy to manage, in particular in the first stages, fighting space charge at low energies.
X8

## Slide 80: New neutron facilities
J. Marroncle, CEA, IFMIF
„…. beam dynamics physicists from Saclay have demonstrated that new ways are necessary for …. ”
... which is a good example where ....
X8

## Slide 81
.... Beam Dynamics meets Diagnostics ....
Thank you for your attention!