## Slide 1: Testing SuperFRS@CERN: Workshop on Survey and MM
Luigi Serio and Pierre Schnizer

## Slide 2: Status of the SFRS magnets test facility
Requirements and interfaces fixed
Layout and integration finalized (minor adj still possible)
Specifications established and procurements being launched
Construction started for LLI

## Slide 3: Motivation for the Workshop
Bringing together people working on SFRS machine beam dynamics, magnets designer, magnetic measurements and alignment specialists for a final review of the requirements, assumptions, feasibility and efficient implementation of the MM program
In particular:
  Review the magnetic measurements and alignment requirements justifications
  Identify the measurements needs and ‘wishes’ for the machine (shall and should)
  Review the foreseen measurement program to identify
    Limitations – if any
    Simplification – if possible
  Focus on the technical and technology aspect
  Project aspects to be sorted out by the project team if agreement reached on the above