## Slide 1: Testing Super-FRS @ CERN Magnet – Test Station Interface
4. Nov 2015
L. Serio and P. Schnizer

## Slide 2: Motivation
  June 2015
    Presentation of Super-FRS machine
    Presentation of measurement requirements
    Review of measurement requirements → found matching machine needs
    https://indico.gsi.de/conferenceDisplay.py?confId=3754
  Today:
    Magnetic measurement
      Systems designed
      Heading into procurement
      Last review → acceptance and move forward
    Survey
      Started last time
      Requirements review
      Fiducialisation, cold mass movement