## Slide 1
Pawel Marciniewski, EMC FEE/DAQ Meeting, KVI, 30.03.2016
Photosensor
APD
Preamplifier
APFEL (GSI)
60
Data Concentrator, 16-ch
949
ADC 64-ch, 14-bit, 80-MSPS
ADC for EMC
- PANDA EMC Readout System
Photosensor
VPTT
Preamplifier
Basel
3,600
11,952
46,788
13,888
949
Compute Node
Compute Node
Compute Node
60

## Slide 2
Photosensor
APD
Preamplifier
APFEL (GSI)
22
Data Concentrator, 16-ch
217
ADC 64-ch
ADC for EMC
- PANDA EMC Readout System
Photosensor
VPTT
Preamplifier
Basel
3,600
11,952
13,888
217
Compute Node
Compute Node
Compute Node
22
366
ADC 64-ch
122
46,788
Pawel Marciniewski, EMC FEE/DAQ Meeting, KVI, 30.03.2016

## Slide 3
ADC for EMC
- Final ADC Count
 | CHANNELS | SENSORS per ch. | RANGES | ADC CH | ADC NO | ADC SUM | SPARES | PROD
OPTION1 |  |  |  |  |  |  |  | 
FWE-VPTT | 768 | 1 | 2 | 1536 | 24 |  |  | 
FWE-APD | 3088 | 2 | 2 | 12352 | 193 | 217 | 33 | 250
BAR-APD | 11360 | 2 | 2 | 45440 | 710 |  |  | 
BKE-APD | 692 | 2 | 1 | 1384 | 22 | 732 | 68 | 800
SUM |  |  |  | 60712 | 949 | 949 | 101 | 1050
OPTION2 |  |  |  |  |  |  |  | 
FWE-VPTT | 768 | 1 | 2 | 1536 | 24 |  |  | 
FWE-APD | 3088 | 2 | 2 | 12352 | 193 | 217 | 33 | 250
BAR-APD | 11360 | 1 | 2 | 22720 | 355 |  |  | 
BKE-APD | 692 | 1 | 1 | 692 | 11 | 366 | 34 | 400
SUM |  |  |  | 37300 | 583 | 583 |  | 650
OPTION3 |  |  |  |  |  |  |  | 
FWE-VPTT | 768 | 1 | 2 | 1536 | 24 |  |  | 
FWE-APD | 3088 | 2 | 2 | 12352 | 193 | 217 | 33 | 250
BAR-APD (65 MSPS) | 11360 | 2 | 2 | 22720 | 355 |  |  | 
BKE-APD (65 MSPS) | 692 | 2 | 1 | 692 | 11 | 366 | 34 | 400
SUM |  |  |  | 37300 | 583 | 583 |  | 650
Pawel Marciniewski, EMC FEE/DAQ Meeting, KVI, 30.03.2016

## Slide 4
 | Modification | Comment | Status
1 | Versatile Link/SFP+ options | SFP+ is still kept as a fall-back option | √
2 | GTX-link added to the backplane | Allows for external cascading of the readout chain | √
3 | Power via backplane | Bigger backplane connector with more pins providing power | √
4 | Power and control over front panel | Option for front power distribution. | √
5 | Passive power monitor | All voltages and currents assembled on two connectors for monitoring | √
6 | Active power monitor | 32-channel slow ADC for health monitoring under run conditions | √
7 | Test pulse generator | Risk of performance drop | X
ADC for EMC
- Final ADC Modifications
Pawel Marciniewski, EMC FEE/DAQ Meeting, KVI, 30.03.2016

## Slide 5
ADC for EMC
- Final ADC Modifications
Pawel Marciniewski, EMC FEE/DAQ Meeting, KVI, 30.03.2016

## Slide 6
ADC for EMC
- Final ADC Modifications
Pawel Marciniewski, EMC FEE/DAQ Meeting, KVI, 30.03.2016
Ceramic Capacitors

## Slide 7
ADC for EMC
- Final ADC Modifications
Pawel Marciniewski, EMC FEE/DAQ Meeting, KVI, 30.03.2016
Mounting Holes

## Slide 8
ADC for EMC
- Final ADC Modifications
Pawel Marciniewski, EMC FEE/DAQ Meeting, KVI, 30.03.2016
Bigger Connectors
For power distribution
and GTX

## Slide 9
ADC for EMC
- Final ADC Modifications
Pawel Marciniewski, EMC FEE/DAQ Meeting, KVI, 30.03.2016
Versatile Link option

## Slide 10
ADC for EMC
- Final ADC Modifications
Pawel Marciniewski, EMC FEE/DAQ Meeting, KVI, 30.03.2016
Flat Zero-cost power monitoring and supply connector

## Slide 11
ADC for EMC
- Final ADC Modifications
Pawel Marciniewski, EMC FEE/DAQ Meeting, KVI, 30.03.2016
16-channel full power monitors
(option)

## Slide 12
ADC for EMC-Endcap
- Encapsulation and Cooling
Courtesy KVI
Pawel Marciniewski, EMC FEE/DAQ Meeting, KVI, 30.03.2016

## Slide 13
ADC for EMC
- Pre-production tests
 | Tests | Comment | Status
1 | GTX Bandwidth | Done for 2 GB/s, faster SFP+ is ordered to test higher frequencies | Done
2 | Input configuration | ADC prepared with different input filters to be tested in Stockholm. Preparations with TRB started | Work on
3 | Radiation immunity | Tests with a neutron beam at TSL, Uppsala were planned in cooperation with KVI, but were postponed. | Urgent
4 | Burn-up tests | We have 6 modules which should be left powered and cooled for a longer time to detect possible failures/shortcomings. | Urgent
Pawel Marciniewski, EMC FEE/DAQ Meeting, KVI, 30.03.2016

## Slide 14
ADC for EMC
- Pre-production tests – IBERT 2.0 Gbps
Pawel Marciniewski, EMC FEE/DAQ Meeting, KVI, 30.03.2016

## Slide 15
ADC for EMC
- Completing the system
 | Tests | Comment | Status
1 | Test station | Start-up station with controlled power supply and power monitoring, configuration, test and readout. | Engineer needed
2 | ADC enclosure | 230 enclosures needed | Preliminary design
3 | Crate mechanics and cooling | ADC prepared with different input filters to be tested in Stockholm. Preparations with TRB started | Preliminary design
4 | Power Supply | 1V – 6A, 2.5V – 6A, 3.3V – 1A per module. Air core DC/DC design needed. | Engineer needed
Pawel Marciniewski, EMC FEE/DAQ Meeting, KVI, 30.03.2016

## Slide 16
ADC for EMC
- Data Concentrators
180 mm
151 mm
VME64x
AMC (uTCA)
16 Optical Links
10 Gbit/s
1Gbit Ethernet
Kintex Ultrascale 20nm
8 10Gbit/s
lanes
to uTCA
Pawel Marciniewski, EMC FEE/DAQ Meeting, KVI, 30.03.2016

## Slide 17
ADC for EMC
- ZYNQ Data Concentrator
Pawel Marciniewski, EMC FEE/DAQ Meeting, KVI, 30.03.2016

## Slide 18
ZYNQ Data Concentrator
- Tests and debugging
DDR 533 | √
UART | √
Flash | √
SDHC | √
PLL | √
SFP+ | √
USB 2.0 | ?
HDMI | X
SFP+ optical loopback test @ 6.25 Gbps
Hardware check:
Firmware & software
Basic Configuration | √
Hello world test | √
DDR test | √
Hardware test | √
LINUX | X
Pawel Marciniewski, EMC FEE/DAQ Meeting, KVI, 30.03.2016

## Slide 19
ZYNQ Data Concentrator
- 6.25 Gbps
Pawel Marciniewski, EMC FEE/DAQ Meeting, KVI, 30.03.2016

## Slide 20
ADC for EMC
- Schedule
 | 2014 |  |  |  | 2015 |  |  |  | 2016 |  |  |  | 2017 |  |  |  | 2018 |  |  | 
EMC SADC |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
ADC tests |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
Final design |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
Final version production |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
Firmware development |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
Radiation immunity test |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
First production batch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
Batch testing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
Batch burn-in |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
Partial assembly |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
Second production batch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
Final implementation |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
EMC Data Concetrators |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
DC design |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
DC testing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
Prototype production |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
Batch production |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
System testing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
Pawel Marciniewski, EMC FEE/DAQ Meeting, KVI, 30.03.2016

## Slide 21
ADC for EMC-Endcap
Thank You !
Pawel Marciniewski, EMC FEE/DAQ Meeting, KVI, 30.03.2016