## Slide 1: Micro Vertex Detector of PANDA Strip Detector
PANDA MVD
Detector Construction and Design

## Slide 2
Overview
Design Strip Part
  Half Shell (new prototype needed)
  Stave (BL 4 prototype)
  Service lines (going on)
  Strip Disc (going on)
  Manufacture of the parts
  BL 4- Stave with cooling module as Prototype ready for test
  Disc Support for Readout electronics (going on)
  Manufacturing of Disc support structure (going on)
  Quality controls new X-ray machine at ZEA-1
  Thermal hydraulic investigation and tests
  Thermal hydraulic Test at ZEA-1 (test facility ready for use)
  Investigation of cooling pipes (going on)
  FEM Validation
  Half shell deformation - 1. valuation (going on)
  Stave deformation (going on)
  Strip Disc deformation (going on)
  Pixel Disk attachment (going on)
Full Scale Model

## Slide 3
Support Structures- Strip Barrel Half Shell
Semi-finished-products
1. Prototyp
Half Shell

## Slide 4
Stave – BL4
Inlay – 2mm CFK
Edge processing
Deformation / rotation – 1mm
Prototyp – BL4 – Nov. 2016 from IKV

## Slide 5
Stave – BL4 - Hand- lay- up
Tool
Hand- lay- up
Hand- lay- up vs. Prepreg
Cable channel
with round stock
Single components

## Slide 6
Stave – BL4 With Cable

## Slide 7
Strip Disk
Half Disk
Variant long
Workshop
1. Prototyp - hand- lay- up
Tool and 2.Prototyp
2. Prototyp - Prepreg
Variant short

## Slide 8
Full Scale Model

## Slide 9
Test Facility (Thermography)
heat distribution on the surface of a stave
fiber crack in a composite cfk/foam plate
FLIR SC6000, ImageIR 8300 thermography cameras with cooled detectors
picture resolution 640x512
thermal resolution better than 20mK
Different exaction sources for active thermography

## Slide 10
Water inlet temperature ~30°
Water inlet temperature ~23°
sharp temperature separation between Carbon Foam and Rohacell
Test Facility (Thermography)

## Slide 11
Studies to determine the quality control (delamination) for the production of CFRP (carbon fiber-reinforced polymer
Test Facility Active Thermography

## Slide 12
Test Facility Active Thermography
long, in diameter
passage
steel needle
2
1
development of a "thermal wave algorithm" using active thermal imaging to analyze the structure of the staves
2
1

## Slide 13
variable distance
temperatur sensor
pressure sensor
volume flow sensor
water pump
air pump
data aquisition
Pump control
Test Facility Hydraulic

## Slide 14
Volume flow
Low pressure mmbar
Pressure rangembar
Variable PID controlled
volume flow
Standardized measurement
cycles for quality assurance
Cooling water temperature
Labview software
Experiment control
Test Facility Hydraulic

## Slide 15
Pressure sensor
temperature coefficient
Linearity error
Iterative calibrated pressure and volume flow sensors. Documentation according to ISO 9001
Volume flow Sensor
repeat accuracy
accuracy
K-Type thermocouple
Deviation class 1
Test Facility Measurement accuracy

## Slide 16
quality assurance
MVD-Stave
hydraulic
thermal
Testing of the hydraulic specifications
Check with active thermography :
delamination, resin allocation, faulty glueing, CFC or foam fractures
Further development of the automatic test procedure
Documentation
Calibration of flow and pressure sensors
Maintenance of the calibration facility
Testing of the thermal coupling between the cooling and the mecanical structure
Documentation
Test Facility Quality Assurance Process

## Slide 17: Cable Dimension BL4
pair name | d[mm] forward | d[mm] backward | I [A] | length [mm]
N-FEA-1 | 0,15 | 1 | 1,1 | 31
N-FEA-2 | 0,25 | 1 | 1,1 | 91
N-FEA-3 | 0,25 | 1 | 1,1 | 139
N-FEA-4 | 0,3 | 1 | 1,1 | 174
N-FEA-5 | 0,3 | 1 | 1,1 | 222
N-FEA-6 | 0,35 | 1 | 1,1 | 282
N-FED-1 | 0,15 | 0,75 | 0,6 | 31
N-FED-2 | 0,15 | 0,75 | 0,6 | 91
N-FED-3 | 0,25 | 0,75 | 0,6 | 139
N-FED-4 | 0,25 | 0,75 | 0,6 | 174
N-FED-5 | 0,25 | 0,75 | 0,6 | 222
N-FED-6 | 0,25 | 0,75 | 0,6 | 282
P-FEA-1 | 0,15 | 1,3 | 1,93 | 31
P-FEA-2 | 0,25 | 1,3 | 1,93 | 91
P-FEA-3s | 0,25 | 1 | 1,1 | 139
P-FEA-4s | 0,3 | 1 | 1,1 | 174
P-FEA-5 | 0,4 | 1,3 | 1,93 | 222
P-FEA-6 | 0,45 | 1,3 | 1,93 | 282
P-FED-1 | 0,15 | 1 | 1,3 | 31
P-FED-2 | 0,25 | 1 | 1,3 | 91
P-FED-3s | 0,25 | 0,75 | 0,85 | 139
P-FED-4s | 0,25 | 0,75 | 0,85 | 174
P-FED-5 | 0,35 | 1 | 1,3 | 222
P-FED-6 | 0,4 | 1 | 1,3 | 282
Connector, designed by ZEA-2

## Slide 18: Thermal Investigation
Front 1
Front 2
Back 1
Back 2
Chart: Back 2
| 10 | 15 | 25 | 30 | 35 | 40 | 45 | 50 | 55 | 60 | 65 | 70 | 75 | 80 | 85 | 90 | 95 | 100 | 106.6
Max [°C] | 25.54 | 25.83 | 27.25 | 28.05 | 29.29 | 30.66 | 32.17 | 33.9 | 36.05 | 38.31 | 41.01 | 43.52 | 46.4 | 50.18 | 53.49 | 56.63 | 60.3 | 64.5 | 70.16
Chart: Front 1
| 10 | 15 | 25 | 30 | 35 | 40 | 45 | 50 | 55 | 60 | 65 | 70 | 75 | 80 | 85 | 90 | 95 | 100 | 106.6
Max [°C] | 26.78 | 26.95 | 29.23 | 30.61 | 32.53 | 34.82 | 37.37 | 40.16 | 43.43 | 47.39 | 51.34 | 56.02 | 61.04 | 66.52 | 72.01 | 78.17 | 84.57 | 91.86 | 100.35
The current density is too high for the choosen cable diameter

## Slide 19: Cable diameter
= 0,79
n = 48
r = cable diameter
R = diameter cable channel
n = number of cable
= packing ratio
pair name | d[mm] forward | I [A] | d [mm] calculated forward
N-FEA-1 | 0,15 | 1,1 | 0,63
N-FEA-2 | 0,25 | 1,1 | 0,63
N-FEA-3 | 0,25 | 1,1 | 0,63
N-FEA-4 | 0,3 | 1,1 | 0,63
N-FEA-5 | 0,3 | 1,1 | 0,63
N-FEA-6 | 0,35 | 1,1 | 0,63
N-FED-1 | 0,15 | 0,6 | 0,5
N-FED-2 | 0,15 | 0,6 | 0,5
N-FED-3 | 0,25 | 0,6 | 0,5
N-FED-4 | 0,25 | 0,6 | 0,5
N-FED-5 | 0,25 | 0,6 | 0,5
N-FED-6 | 0,25 | 0,6 | 0,5
P-FEA-1 | 0,15 | 1,93 | 0,85
P-FEA-2 | 0,25 | 1,93 | 0,85
P-FEA-3s | 0,25 | 1,1 | 0,63
P-FEA-4s | 0,3 | 1,1 | 0,63
P-FEA-5 | 0,4 | 1,93 | 0,85
P-FEA-6 | 0,45 | 1,93 | 0,85
P-FED-1 | 0,15 | 1,3 | 0,75
P-FED-2 | 0,25 | 1,3 | 0,75
P-FED-3s | 0,25 | 0,85 | 0,5
P-FED-4s | 0,25 | 0,85 | 0,5
P-FED-5 | 0,35 | 1,3 | 0,75
P-FED-6 | 0,4 | 1,3 | 0,75
First try: we used the lowest calculated diameter (=biggest old diameter) for all cables to test the connectors
= 13,2g CU per stave
For comparison:
Backward cable: 326g CU per meter and stave (BL4)
Laying up the cable diameter in dependence on DIN 46435, DIN VDE 0298-4
5,1g CU per Stave  22,6g CU per Stave

## Slide 20: Redesign Cable Channel
new concept:
laminating the carbon prepack around a metal rod. After the manufacturing process the material is cooled, so that the shrunken rod can be removed
old concept:
carbon prepack laminated around a semi-manufactured carbon tube
Doubling of the cross-sectional area
saving of material

## Slide 21: Thermal Testing Power Connector
Chart: current [A] (back and forth)
| 0 | 5 | 10 | 15 | 20 | 25 | 27.5 | 30 | 35
Temp Links [°C] | 21 | 22 | 24.6 | 28.3 | 32.8 | 38.5 | 41.9 | 45.7 | 53.9
Temp Rechts [°C] | 21 | 22 | 24.8 | 28.2 | 32.1 | 37.6 | 42.2 | 45.5 | 53.5

## Slide 22: Next Steps
Examination thermal behavior BL4 staves
connected to the cooling system,
equiped with cables inside,
flexible pcb,
connectors,
dummy electronic/sensors.
Who determines the new cable diameter and material?
Who is looking for the (final) connectors?
What is the (final) power consumption of the electronic?
Who is designing the Flex PCB, when can we get it?
 Help is needed!
Who are the contact persons?
Who needs BL4-Prototypes and when?

## Slide 23: Retirement of Vincenzo Fracassi
Thank you very much Enzo!