## Slide 1: Alice TPC DCS

## Slide 2: ALICE underground
PLUG
ALICE
DETECTOR
CR1
CR2
CR3
CR4
ACR
BEAM
~50m
~15m
~55m
2

## Slide 3: Access
ALICE
DETECTOR
CR1
CR2
CR3
CR4
ACR
BEAM
~50m
~15m
Cavern only accessible during shutdowns !
PLUG
~55m
3

## Slide 4: Radiation
PLUG
ALICE
DETECTOR
ACR
BEAM
~15m
rad hard el. required
COTS ok, SEU strategy required SEU strategy ?
Very limited radiation effects
racks in c-rooms
gas distribution
~50m
racks in cavern
~55m
4

## Slide 5: Magnetic field
PLUG
ACR
BEAM
~50m
~15m
0.5 T
No impact
Stray fields, impact ? Shielding DC/DC’s, etc
Two main magnets L3 and MUON dipole
~55m
5

## Slide 6
10

## Slide 7: Alice TPC
Volume: 88 m3
Diameter: 5 m
Drift length: 2x2.5 m
Drift field: 400 V/cm (100 kV)
Drift time ~100 µs
Temperature homogeneity: 100 mK RMS
Time Projection chamber
Multiwire proportional chambers
(upgrade: GEM)
Segmented cathode read out: 557568 ch.

## Slide 8: TPC DCS overview
118 HV (wire chamber)
100 kv field gage
  current monitoring
Gas system
  recirculating system
Gas quality monitor
  gas chromatograph
  drift velocity monitor
2 cooling plants
  48 loop
    individual temperature
    PLC pressure interlock system
  4 loop
Temp Monitor
  500 Pt 1000
    absolute calibrated
    mK resolution
FEE monitor & control
  218 RCU
  4356 FEC
    128 channel
BusyBox
Gating pulser
LV
  19 Wiener Pl512
    4 ch
Laser Control
  2 Lasers
  Cameras + mirror control
  Embedded events in runs
Calibration pulser
12 distributed SCADA systems
12+4 PCs

## Slide 9: Gas system
Control Backup Mixer Purifier CO2 Distr Analys Pump
TPC Gas System at SLXL2
Recirulating gas system -> recover Ne
Purifier (removal of H2O and O2)

## Slide 10: Cooling system
27 kW to be removed
Leakless water cooling systems
FEE cooling
ROC padplane thermal screen
Rule: Each detector to remove all the heat they generate

## Slide 11: Temperature monitoring system
About 500 sensors distributed all over the TPC
calibrated within a few mK
ELMB (predecessor of FTLMC)

## Slide 12: Temperature monitor

## Slide 13: TPC DCS history
beginning 2001
  Hardware qualification
  URDs
test beam 2004
  Hardware
  Control prototypes
TPC pre-instalation 2005/2006
pre-commissioning 2006
  48h operation of 5% of TPC
    interlock for water cooling
detector installation 2007
  full hardware
  final control system
  commissioning
ready for beam 2008
first collision 2009
since 2009 continuous operation of TPC by shift crew
  experts on call

## Slide 14: URD Template 12.2001

## Slide 15: URD Template 12.2001

## Slide 16
URD Status
DCS
Detectors
TOF
SPD
SDD
SSD
TPC
TRD
ZDC
PMD
HMP
ITS
PHO
CPV
CAL
FMD
V0
T0
TRA
TRG
MU
ACC
EMC
HV
LV
FEE
GAS
MON
COO
subsystems
LSR
HV
LV
FEE
GAS
MON
HV
LV
FEE
HV
LV
FEE
GAS
HV
LV
FEE
GAS
MON
HV
LV
FEE
MON
HV
LV
FEE
MON
ROD
VHV
HV
LV
GAS
MON
HV
LV
FEE
CCO
HV
LV
MON
HV
LV
FEE
MON
HV
LV
GAS
MON
HV
LV
FEE
HV
LV
GAS
MON
HV
LV
FEE
HV
LV
FEE
HV
LV
FEE
LIQ
GAS
HV
LV
GAS
MON
GMS
TS
COO
COO
COO
COO
COO
COO
COO
COO
COO
COO
MON
MON
MON
MON
MON
PLS
1st draft URD exists
Discussion started
Not started or unknown
FEE

## Slide 17
ESC
Crate
ROC C
ROC
ROC A
Misc A
Ch
.......
LASER
TEMP
FC
TPC
GPulser
PLC
Ch
.......
Ch
.......
Ch
TSen
Gating
PS
Ch
.......
.......
.......
C. Puls
Pul. A
Pul. C
Laser
Las. A
Las. C
Beam
Image
Mirror
36x
36x
5X
98x
12x
500x
Gas
Detector
GAS
DVM
FERO
ESC
FED
RCU
.......
6x
36x
…
CORE
Cool
RUN
Busy
Run
LV
Ch
Sync
Sync
DVM
Inhibit
Inhibit
Misc C
Ch
.......
5X
2009

## Slide 18
CR3
UX-A/C
CR4-Z08
CR4-Z08
UX-A/C
CR3
CR3
CR3
CR3
CR4-Z08
UX-A/C
CR4-Y08
Chambers
ISEG
Chambers
Wiener
Ethernet
RCU
108
288
Chambers, detector
ELMB
2..4
500
PVSS II
HVrod
Heinzinger
1
High Voltage
Low Voltage
FEE
Temp. Monitor
Very High Voltage
TPC(1)
E
HV
LV
E
HV
S
Control room (ACR)
23/01/07
Ethernet switch
E
E
DIMsrv
DDL
HVrod
ELMB
16
VHV Curr. Monitor
C
ISEG OPCserver
PVSS II
OPC client
1
Wiener OPCserver
PVSS II
OPC client
ELMB OPCserver
PVSS II
OPC client
18
18
CR3
[FED]
DIMserver
DIMclient
PVSS II
DIMclient
10
216
1
1
2
Chambers
Gating pulser
72
Calibr. pulser
PVSS II
Virtual Serial
Eth.-RS232
E
PS
2
Pulser system
216
PLC
1
Modbus/TCP
E
2
6
12
User interface
CR3
WTS PVSSII
Database(s)
1
2
3
4
5
C
PEAK USB-CAN
ACC
1
U
ACC
C
Systec USB-CAN
U
6
ACC
9
10
12
Notes: 29.02.2007: Updated laser
22.02.2006: Cosmetic changes
07.10.2005: Update on DCS workshop (October 2005, Uli Frankenfeld)
18 Wiener
06.07.2005: Updated version (by Uli Frankenfeld) + info ‘rack content’ meeting
1 Iseg crate; 19(!?) Wiener (now ethernet); 10 ethernet switches; PLC solution for VHV; STAR board for camera readout; gas monitor to SG
03.03.2005: Update on DCS workshop (March 2005, Uli Frankenfeld)
Iseg crates from 3 to 2
Wiener might need recalculation of #crates
LV monitor from ELMB no longer needed
VHV still under discussion (might become PLC)
26.11.2004: Minor changes
Show FED as a device (same level as power supply or ELMB)
Update cooling system layout (ST/CV scada & single interface to their PLCs through, maybe, modbus/TCP)
01.11.2004: Cosmetic changes
ELMB to monitor R-rods
Removed “Profibus is still a possible alternative” for FEE
16.06.2003: Update on DCS workshop (June 2003)

## Slide 19
LHut
SG2
CR3
CR3
CR3
CR3
CR3
CR3
LHut
LHut
LHut
[Motion] [Laser]
SG2
CR5
SG2
UX-C
UX-C
Ethernet
TPC(2)
VHV rod Cooling
Thermal Screen(s)
PLC
18?
Thermal Screen(s)
Laser calibration system.
Mirror control
Video cameras
Gas system
PLC
Gas
E
HVrod
4
Cooling Plant (TS)
Detector
PVSS II
DIP
[TS/CV]
[GWG]
Cooling Plant (ch)
PLC
Chamber Cooling
E
Chambers, detector
40
PVSS II
Modbus/TCP
TS/CV SCADA
Gas
[Vision]
DIMserver/ filesystem
FrameGrab
PVSS II
DIMclient
Eth.-RS232
DIMserver
PicoMotor
PicoMotor
Laser
Video
Drift velocity mon.
PVSS II
Gas PVSS
29/01/07
7
11
11
8
DCS
board
DIMsrv
DIMclient
E
SG2
[Goofie]
DIMserver
13
Drift velocity analysis
DIMcl
V.Ser.
E
E
E
2
2
1
16
4

## Slide 20
Prototyping status
DCS
Detectors
…
TOF
SPD
SDD
SSD
TPC
TRD
ZDC
PMD
HMP
ITS
PHO
CPV
CAL
FMD
V0
T0
TRA
TRG
MU
COS
EMC
HV
LV
FEE
GAS
MON
COO
subsystems
LSR
HV
LV
FEE
GAS
MON
HV
LV
FEE
HV
LV
FEE
GAS
HV
LV
FEE
GAS
MON
HV
LV
FEE
MON
HV
LV
FEE
MON
ROD
VHV
HV
LV
GAS
MON
HV
LV
FEE
MON
HV
LV
MON
HV
LV
FEE
MON
HV
LV
GAS
MON
HV
LV
FEE
HV
LV
GAS
MON
HV
LV
FEE
HV
LV
FEE
HV
LV
FEE
LIQ
GAS
HV
LV
GAS
MON
ALI
TS
COO
COO
COO
COO
COO
COO
COO
COO
COO
COO
MON
MON
MON
MON
MON
PLS
1st version implemented
started
not started but common solution exists
Unknown or not started

## Slide 21
DCS configuration for
TPC test-beam May 04
T10 Control
room
T10 beam
area
Ethernet
WXP, PVSS 3.0
FSM application
RCU
FEE
2
DCS Ctrl
DDL
Chambers
ISEG
2
High Voltage
1
Chambers
Wiener
2
1
Low Voltage
C
PT1000
ELMB
1
5
Temp. Monitor
PCI adaptors and CAN cables: from ACC
Supplies: from B167
ELMB: from ACC
Cables, sensors:from GSI
From KIP
FSM application: from GSI
4 PC’s: from GSI
FW trending tool: ACC
Network: from AIT/FC
Cables: from ?
PCI-CAN: Peak
ISEG OPC 2.09
WXP, PVSS 3.0
OPC client
Archive
FSM application
PCI-CAN: Kvaser
WIENER OPC 1.06
WXP, PVSS 3.0
OPC client
Archive
FSM application
PCI-CAN: Kvaser
ELMB OPC: 2.04
WXP, PVSS 3.0
OPC client
Archive
FSM application
TPC-FED DIM: v?
Temp panels
DIM client
2
20m
130m
5m
40m
40m
40m
30m
DIM server: from GSI
PVSS, OPC’s: ACC FSM application & panels: GSI

## Slide 22: TPC pre-installation 2006

## Slide 23: Pre-comissioning

## Slide 24: Responsibilities
ACC (and its CERN partners) will provide
  DCS H/W Infrastructure
  Back-End System
  Common Services
  Interface to TRG, DAQ, HLT, LHC via ECS
  S/W Infrastructure for Detector Applications
Detectors will provide
  Detector Sub-System Devices and Cabling
  Detector Specific Networking (Ethernet switches)
  Detector Applications for each Sub-System
  Detector Specific Services
  Integration of all Detector Sub-Systems to a full Detector Control System
  Interface to the Alice Detector Control System layer

## Slide 25: ACC will provide: DCS H/W infrastructure
DCS Racks in CR3
  1 for Back-end PC’s
  1 for ELMB power
  6 for Front-end (detector) PC’s
Network
  DCS network ports in all racks with DCS computers & devices
    detectors to specify requirements: “rack content meetings”
Computers
  Back-end: prototype installation exists
  Front-end: detectors to specify requirements: ACC will propose
  PCI interfaces: detectors to specify requirements: ACC will propose
Peripherals
  Printers, displays, etc

## Slide 26
[FED]
Chambers
ISEG
PCI-CAN
ISEG OPCserver
PVSS II
PVSS II
Chambers
Wiener
PCI-CAN
Wiener OPCserver
Ethernet
User interface
Database(s)
RCU
OPC client
DIM client
108
288
1..3
1..22
?
PVSS II
Chambers, detector
ELMB
1..18
~400?
PVSS II
RS232
HVrod
Heinzinger
1
1
18?
3
22
1
216
High Voltage
Low Voltage
FEE
Temp. Monitor
Very High Voltage
PVSS II
OPC client
PVSS II
OPC client
PCI-CAN
ELMB OPCserver
PVSS II
OPC client
TPC(1)
C
C
HV
LV
E
C
HV
S
[FSM?]
Control room (ACR)
108?
26/11/04
Eth. Switch
Eth. Switch
?
?
E
E
LV monitor
DIMsrv
DIMsrv
DIMcl
DDL
PVSS II
DIMclient
HVrod
ELMB
?
1?
2
VHV Curr. Monitor
PCI-CAN
ELMB OPCserver
PVSS II
OPC client
C
Front-End
OPC client
ACC WILL PROVIDE: SOFTWARE INFRASTRUCTURE FOR F-END’s
WXP/Linux
PCI
OPCserver
PVSS II
FW
LIBRARIES
Detectors to specify requirements: ACC will propose
Notes: 26.11.2004: Minor changes
Show FED as a device (same level as power supply or ELMB)
Update cooling system layout (ST/CV scada & single interface to their PLCs through, maybe, modbus/TCP)
01.11.2004: Cosmetic changes
ELMB to monitor R-rods
Removed “Profibus is still a possible alternative” for FEE
16.06.2003: Update on DCS workshop (June 2003)

## Slide 27
[FED]
Chambers
ISEG
PCI-CAN
ISEG OPCserver
PVSS II
PVSS II
Chambers
Wiener
PCI-CAN
Wiener OPCserver
Ethernet
User interface
Database(s)
RCU
OPC client
DIM client
108
288
1..3
1..22
?
PVSS II
Chambers, detector
ELMB
1..18
~400?
PVSS II
RS232
HVrod
Heinzinger
1
1
18?
3
22
1
216
High Voltage
Low Voltage
FEE
Temp. Monitor
Very High Voltage
PVSS II
OPC client
PVSS II
OPC client
PCI-CAN
ELMB OPCserver
PVSS II
OPC client
TPC(1)
C
C
HV
LV
E
C
HV
S
[FSM?]
Control room (ACR)
108?
26/11/04
Eth. Switch
Eth. Switch
?
?
E
E
LV monitor
DIMsrv
DIMsrv
DIMcl
DDL
PVSS II
DIMclient
HVrod
ELMB
?
1?
2
VHV Curr. Monitor
PCI-CAN
ELMB OPCserver
PVSS II
OPC client
C
DETECTORS will provide * SUB-SYSTEM DEVICES; HVPS, LVPS, etc * ELMB’s and ELMB + CAN power by ACC * CABLES; CAN and Interlock cables by ACC * SPECIFIC NETWORKING; switch to RCU, etc. * DETECTOR SPECIFIC SERVICES (GAS, COOLING)
Notes: 26.11.2004: Minor changes
Show FED as a device (same level as power supply or ELMB)
Update cooling system layout (ST/CV scada & single interface to their PLCs through, maybe, modbus/TCP)
01.11.2004: Cosmetic changes
ELMB to monitor R-rods
Removed “Profibus is still a possible alternative” for FEE
16.06.2003: Update on DCS workshop (June 2003)

## Slide 28: User interface

## Slide 29: User interface

## Slide 30: Conclusion
Access control
  remote access
  Rules for expert intervention
Hierarchy by FSM
Alert system
  instruction for shifters
Interlock
  soft
  plc
  hard
  device
Archive
  selected data for reconstruction
Internal Log files
Automatic logbook entries
TPC integrated in DCS (and ECS)
  External Configuration tool (add on)
Standard 24/7 operation by common DCS shifter
  expert start-up
  expert on-call
successful long term operation (>10a)