## Slide 1: HADES Detector Control System
Peter Zumbruch, GSI/EEL/EKS

## Slide 2: HADES

## Slide 3: High Acceptance Dilepton Spectrometer
https://www-hades.gsi.de

## Slide 4
HADES
~ 80.000 channels
https://www-hades.gsi.de

## Slide 5
New ECAL
(not shown: additional) Forward wall
https://www-hades.gsi.de

## Slide 6: Components
A diamond START and VETO system
A Ring Imaging Cherenkov (RICH) gas radiator for electron identification with a position sensitive photon detector, covering the full azimuthal range.
Two sets of Multiwire Drift Chambers (MDC) before and after the magnetic field region form HADES tracking system.
A superconducting toroidal magnet with 6 coils in separate vacuum chambers.
A multiplicity/electron trigger array (formerly) consisting of granular Pre-shower detectors at forward angles (between 18° and 45°) and
two time of flight walls: a scintillator based time-of-flight wall (TOF) at angles above 45° and the RPC wall built from resistive plate chambers at angles below 45°.
https://hades-new.gsi.de/sites/default/files/web/media/documents/EPJA2009.pdf
https://www-hades.gsi.de
https://www-hades.gsi.de

## Slide 7: Detector Control System

## Slide 8: EPICS based

## Slide 9
8 - 10 September 2009
EPICS Overview - EPICS Tutorial - PANDA XXXth Collaboration Meeting, Jülich
What is EPICS?
short answer: EPICS: Experimental Physics and Industrial Control System
a bit more elaborate: EPICS is a set of Open Source software tools, libraries and applications developed collaboratively and used worldwide to create distributed soft real-time control systems for scientific instruments such as particle accelerators, telescopes and other large scientific experiments. (From the EPICS Home Page: http://www.aps.anl.gov/epics/)
striking - is three things at once:
  A collaboration of major scientific laboratories and industry ( > 100)
    A world wide collaboration that shares designs, software tools and expertise for implementing large-scale control systems
  An architecture for building scalable control systems
    A client/server model with an efficient communication protocol (Channel Access) for passing data
    The entire set of Process Variables establish a Distributed Real-time Database of machine status, information and control parameters
  A Software Toolkit of Open Source code and documentation
    A collection of software tools collaboratively developed which can be integrated to provide a comprehensive and scalable control system
Notes: 9

## Slide 10
8 - 10 September 2009
EPICS Overview - EPICS Tutorial - PANDA XXXth Collaboration Meeting, Jülich
  For EPICS, client and server speak of their Channel Access role
    i.e. Channel Access Client & Channel Access Server
Client
Client
Server
Server
CA
CA
CA
CA
A Control System Architecture
  Network-based “client/server” model (hence the EPICS logo)
What is EPICS? (Getting Started with EPICS: Introductory Session I)

## Slide 11
Why EPICS ?
scalable Control System Architecture
  rule of thumb: ~ 10 control channels per 1 data channel
    ~ 1-10 Million channels
runs on many OS architectures (Linux, Windows, Arm, RTOS)
used world-wide in huge applications, e.g. ITER, HADES
far reaching perspective, q.v. ITER
GUIs are (one sort of) clients, displaying/changing process variables which are provided by the server. They are not part of the server
support at GSI (P.Zumbruch)
support world-wide
  tech-talk
  use-case e.g.
    PANDA EMC Endcaps, Florian Feldbauer, Bochum
August 20, 2012
FAIR Controls - PANDA DCS

## Slide 12
...
Process Layer
Control Layer
Supervisory Layer
32 up-to 16 bit ADC Channels for 0-5/10 or 4-20mA Inputs
1-wire
CAN
I2C
SPI
“TTL“
analog
miniPC
EPICS IOC
HadCon2
USB
1-wire
HADES I/O Box
PC
EPICS IOC
trbnet
LAN
CA
LAN
CA
CA
...
x 74
LV
TDK Lambda
...
1.1kV
48 V
CA
HV
Wiener
ISEG
internal EPICS IOC
LAN
LAN
JDBC
EPICS IOC
HV
LV
Gas
HadCon2 alias
Sequencer
Ioc-stats
LAN
Data Browser
GUI („BOY/BOB“)
1-wire
CAN
I2C
SPI
“TTL“
miniPC
EPICS IOC
HadCon2 / CBM DSC (Prototype)
USB
CA
LAN
HADES VLAN
Gateway
GSI LAN
LAN
JDBC
CA
RDB Archiver
Archiver
Configuration
Archiver
Storage
DCS Overview
LAN
ModBus
LAN
(RICH) Gas System
6 x 1-wire Temperature
0-5/10 V Signals
4-20mA Signals
TRB „Sensors“
T, DAQ, ...
...
Power /Concentrator Board
...
x 74
1.1 V, 1.2V, 2.5 V, 3.3 V
1..1 kV
Power /Concentrator Board
1.1 V, 2.5 V, 3.3 V
1..1 kV
LV Power Distributor Switches & Feedback ADCs
x 74
RICH Gas Sensors & Actuators
Ethercat
Alarmhandler „BEAST“
Supervisory Layer
Control Layer / EPICS
Process/Device Layer

## Slide 13
...
Process Layer
Control Layer
Supervisory Layer
32 up-to 16 bit ADC Channels for 0-5/10 or 4-20mA Inputs
1-wire
CAN
I2C
SPI
“TTL“
analog
miniPC
EPICS IOC
HadCon2
USB
1-wire
HADES I/O Box
PC
EPICS IOC
trbnet
LAN
CA
LAN
CA
CA
...
x 74
LV
TDK Lambda
...
1.1kV
48 V
CA
HV
Wiener
ISEG
internal EPICS IOC
LAN
LAN
JDBC
EPICS IOC
HV
LV
Gas
HadCon2 alias
Sequencer
Ioc-stats
LAN
Data Browser
GUI („BOY/BOB“)
1-wire
CAN
I2C
SPI
“TTL“
miniPC
EPICS IOC
HadCon2 / CBM DSC (Prototype)
USB
CA
LAN
HADES VLAN
Gateway
GSI LAN
LAN
JDBC
CA
RDB Archiver
Archiver
Configuration
Archiver
Storage
DCS Overview
LAN
ModBus
LAN
(RICH) Gas System
6 x 1-wire Temperature
0-5/10 V Signals
4-20mA Signals
TRB „Sensors“
T, DAQ, ...
...
Power /Concentrator Board
...
x 74
1.1 V, 1.2V, 2.5 V, 3.3 V
1..1 kV
Power /Concentrator Board
1.1 V, 2.5 V, 3.3 V
1..1 kV
LV Power Distributor Switches & Feedback ADCs
x 74
RICH Gas Sensors & Actuators
Ethercat
Alarmhandler „BEAST“
Supervisory Layer
Control Layer / EPICS

## Slide 14
...
Process Layer
Control Layer
Supervisory Layer
32 up-to 16 bit ADC Channels for 0-5/10 or 4-20mA Inputs
1-wire
CAN
I2C
SPI
“TTL“
analog
miniPC
EPICS IOC
HadCon2
USB
1-wire
HADES I/O Box
PC
EPICS IOC
trbnet
LAN
CA
LAN
CA
CA
...
x 74
LV
TDK Lambda
...
1.1kV
48 V
CA
HV
Wiener
ISEG
internal EPICS IOC
LAN
LAN
JDBC
EPICS IOC
HV
LV
Gas
HadCon2 alias
Sequencer
Ioc-stats
LAN
Data Browser
GUI („BOY/BOB“)
1-wire
CAN
I2C
SPI
“TTL“
miniPC
EPICS IOC
HadCon2 / CBM DSC (Prototype)
USB
CA
LAN
HADES VLAN
Gateway
GSI LAN
LAN
JDBC
CA
RDB Archiver
Archiver
Configuration
Archiver
Storage
DCS Overview
LAN
ModBus
LAN
(RICH) Gas System
6 x 1-wire Temperature
0-5/10 V Signals
4-20mA Signals
TRB „Sensors“
T, DAQ, ...
...
Power /Concentrator Board
...
x 74
1.1 V, 1.2V, 2.5 V, 3.3 V
1..1 kV
Power /Concentrator Board
1.1 V, 2.5 V, 3.3 V
1..1 kV
LV Power Distributor Switches & Feedback ADCs
x 74
RICH Gas Sensors & Actuators
Ethercat
Alarmhandler „BEAST“
Supervisory Layer
Process/Device Layer

## Slide 15
...
Process Layer
Control Layer
Supervisory Layer
32 up-to 16 bit ADC Channels for 0-5/10 or 4-20mA Inputs
1-wire
CAN
I2C
SPI
“TTL“
analog
miniPC
EPICS IOC
HadCon2
USB
1-wire
HADES I/O Box
PC
EPICS IOC
trbnet
LAN
CA
LAN
CA
CA
...
x 74
LV
TDK Lambda
...
1.1kV
48 V
CA
HV
Wiener
ISEG
internal EPICS IOC
LAN
LAN
JDBC
EPICS IOC
HV
LV
Gas
HadCon2 alias
Sequencer
Ioc-stats
LAN
Data Browser
GUI („BOY/BOB“)
1-wire
CAN
I2C
SPI
“TTL“
miniPC
EPICS IOC
HadCon2 / CBM DSC (Prototype)
USB
CA
LAN
HADES VLAN
Gateway
GSI LAN
LAN
JDBC
CA
RDB Archiver
Archiver
Configuration
Archiver
Storage
DCS Overview
LAN
ModBus
LAN
(RICH) Gas System
6 x 1-wire Temperature
0-5/10 V Signals
4-20mA Signals
TRB „Sensors“
T, DAQ, ...
...
Power /Concentrator Board
...
x 74
1.1 V, 1.2V, 2.5 V, 3.3 V
1..1 kV
Power /Concentrator Board
1.1 V, 2.5 V, 3.3 V
1..1 kV
LV Power Distributor Switches & Feedback ADCs
x 74
RICH Gas Sensors & Actuators
Ethercat
Alarmhandler „BEAST“
Control Layer / EPICS
Process/Device Layer

## Slide 16
...
Process Layer
Control Layer
Supervisory Layer
32 up-to 16 bit ADC Channels for 0-5/10 or 4-20mA Inputs
1-wire
CAN
I2C
SPI
“TTL“
analog
miniPC
EPICS IOC
HadCon2
USB
1-wire
HADES I/O Box
PC
EPICS IOC
trbnet
LAN
CA
LAN
CA
CA
...
x 74
LV
TDK Lambda
...
1.1kV
48 V
CA
HV
Wiener
ISEG
internal EPICS IOC
LAN
LAN
JDBC
EPICS IOC
HV
LV
Gas
HadCon2 alias
Sequencer
Ioc-stats
LAN
Data Browser
GUI („BOY/BOB“)
1-wire
CAN
I2C
SPI
“TTL“
miniPC
EPICS IOC
HadCon2 / CBM DSC (Prototype)
USB
CA
LAN
HADES VLAN
Gateway
GSI LAN
LAN
JDBC
CA
RDB Archiver
Archiver
Configuration
Archiver
Storage
DCS Overview
LAN
ModBus
LAN
(RICH) Gas System
6 x 1-wire Temperature
0-5/10 V Signals
4-20mA Signals
TRB „Sensors“
T, DAQ, ...
...
Power /Concentrator Board
...
x 74
1.1 V, 1.2V, 2.5 V, 3.3 V
1..1 kV
Power /Concentrator Board
1.1 V, 2.5 V, 3.3 V
1..1 kV
LV Power Distributor Switches & Feedback ADCs
x 74
RICH Gas Sensors & Actuators
Ethercat
Alarmhandler „BEAST“

## Slide 17: Overview
HADES control system
  EPICS based client server system (main focus)
  ~ 25 compute nodes “IOCs“ (Input Output Controller
    5 central (linux-x86(_64))
      „Main IOC“, Gateway Hades Network – GSI Network, FSM Sequencer, HV and LV control
    1 RICH PC + embedded ISEG IOC
    1 CAEN 4527 EPICS IOC
    17++ smaller (linux-arm, etrax)
      HadCon1 (etrax FX)
      HadCon2 + dreamPlug/Raspberry PI
  ~ 163.000 Process Variables
    Temperature, HV, LV, Pressures, Scales, Switches, Gas Systems, ..
  Visualization / GUI client
    Still MEDM
    Old CSS 3.x (MDC, RPC, DCS beta)
    CSS 4.4
  Archiving
    CS-Studio based headless RDB Archiver
      connecting to
        local PostgreSQL database
        future: GSI PostgresQL Database Services
    archiving for ~7000 Process Variables at 0.1 to 10 Hz
  Involved institutes
    GSI, Gießen

## Slide 18: Process Variables
PVs per type
Main IOCs (5)
  133572 (121373 / 90.8%)
Dreamplug (4)
  2142 (1877 / 87%)
HadCon1 (11)
  7074 (6866 / 97%)
ISEG HV
  ~10.000
CAEN HV 4527
  ~10.000
in total
~ 163,000 PVs (150,000 / 92%)

## Slide 19: DCS Server
DCS got two segregated server units of GSI batch farm nodes from IT
Allows
  further modularization
  virtualization/container of servers and graphical clients.
  improved redundancy
  network (3 VLANs)
  IT department OS

## Slide 20: Graphical user interfaces

## Slide 21: Current and Future Projects GUI
CS-Studio - Replacement of MEDM displays
  automatic conversion tools do exist
NEEDS DETECTOR‘S INITIATIVE
FOR NEW DESIGN FEATURES
To get detector oriented DISPLAYs

## Slide 22: Controlsystemstudio.org

## Slide 23: hmon: perl based ECS and DAQ controls
acting as an EPICS client

## Slide 24: Organisational

## Slide 25: Management (1) People
1 core developer
1 detector (MDC) power user
1 advanced (RICH) user
~ 5-10 clients „I (would) need“
In general no real detector group DCS experts
1 impatient/unhappy group/user (DAQ)

## Slide 26: Management (2) System
Up to a few days ago:
  one main IOC
Now
  could be easily split up into 5 using $(hostname) based configuration files
    i.e. one type of executable configured for different setups
  git.gsi.de/HADES git repository growing use for all used IOC
  including automatic nightly update of resources for the main IOCs

## Slide 27: Management (3) Vital, unwritten Rules
PV naming scheme
Modularization and templates!
  No dump copy and paste
Configuration instead of coding.
Use of git or other type of CVS.
Restrictions: no
Hardware decisions, getting more involved by experienced users
Server Platforms:
  linux/unix (not EPICS driven)

## Slide 28: Management Coordination
(Core) IOCs
  Core Developer
GUIs, Clients
  User
NO
  user requirements
    no database
  processes
  list of responsible sub system detector people
  state machine

## Slide 29: Summary

## Slide 30: HADES DCS
HADES DCS System
  with approx. 130,000 PVs
  distributed over ~ 25 EPICS Server
  with about 20 client applications (GUIs, etc.)
is running
maintained by 1 core developer and coordinator
  gaining experience for bigger experiments
Modularization and Templates
Configuration instead of coding.

## Slide 31: Thank You.

## Slide 32: Backup slides

## Slide 33
RICH Detector