## Slide 1: STT
Sep-18, 2018 | Peter Wintz (for the STT group)

## Slide 2: Outline STT Status
System Overview
Raw Data & T0 Extraction
Calibrations & Tracking & PID
In-Beam Results (preliminary!)

## Slide 3: Central straw tube Tracker
4224 straws in 19 axial and 8 stereo (±3°) layers
  27µm Al-Mylar, 1400 mm length, 10 mm diameter
  Ar/CO2 gas mixture at 1 bar overpressure
X/X0 = 1.25% by self-supporting straw layers
Drift time & charge readout for PID (dE/dx)
Continuous data stream readout (~ 15GB/s)
Real-time tracking & input to SW trigger (event ID)
1650 mm
Straw components, self-supporting sector and STT prototype (half-barrel)
STT
3D-view
dE/dx simulation for STT (TDR, Eur.Phys.J. A49 (2013) 25)
Momentum (GeV/c)
dE/dx (arb. units)
Separation power
Momentum (GeV/c)
Straw layout

## Slide 4: raw data & basic principles
Straw signals (in-beam)
Straw channel no.
Switched off in Apr-18
Beam Time
TDC LE-Time (ns)
TDC TE-Time (ns)
TDC LE-Time (ns)
Deuteron beam,
1.5 GeV/c
Proton beam
Straw signal raw data
  channel number: ichan  istraw, ilayer
  signal times tLE, tTE
Calibrations:
  wire positions ichan: x,y,(z)
  drift time spectrum tLE: T0 determined or extracted
  r(t) isochrone radius – drift time calibration
Signal pulse width ToT ( = tTE - tLE)
  which observable for PID ?

## Slide 5: Raw Hit intensities
Full luminosity
    20×106 events / s × 3-4 tracks / event
    40 events in 2 µs time window on average (poisson distributed time gaps)
Hit intensities per straw
    ~ 106 hits / s at 1st layer  6×105 /s at 8th layer
    1 µs time gap between hits in same straw on average, but poisson distributed
    pileup possible within 250ns drift time range (double pulse)
At phase 1:
    4 events in 2 µs time window on average
    10 µs time gap between hits in same straw on average
Hit clusters clearly separated, pileup in drift time range almost excluded

## Slide 6: Tracking procedures
Signal leading edge times, convert TDC bins to ns
    T0, from extern or internal extraction
    Drift times by T0 subtraction and time window tmax
Calibration isochrone radius – drift time relation r(t)
    polynomial relation, non-linear drift velocity
    drift time spectrum: N / R =  ni / r(ti)  r(t) =
    then: iterative with reco tracks and extracted
  wire distances (measured ti  reco ri)
Wire positions iterative by reco tracks, residual distribution shifts
    x,y position and/or
    r(t), r0 (=P0) parameter, abobe/below wire
P0=0.03398
P1=0.05358
P2=-3.274E-4
P3=1.279E-6
P4=-1.987E-9
r(t) relation

## Slide 7: Tracking procedures
Track reconstruction (testbeam data)
Tracking
    Start fit parameters from wire positions, | ∆istraw, ∆ilayer | ≤ 1
    2- MINUIT track fit to isochrones
    Hit filter, reject single outliers
      e.g. -electrons, ~ 15% in argon
      other spurious (not seen in beam data)
      check reco efficiency, remaining #hits for fit
#Rejected outlier hits (sigma cut)
Hits per track
beam

## Slide 8
R(t) Calibration & Data Correction
uncorrected
corrected
Reconstruct tracks with uncorrected r(t)
~200µm track resolution, is sufficient
Determine residual shifts (above/below wire)
Correct r(t) by avg. residual shifts
Add R0 to r(t), above/below wire r(t)s
Re-fit, iteration of shifts (auto procedure)
Uncorr.:  = 187µm, mean= -58µm
Corr:  = 135 µm, mean = -1µm
Global r(t) used, R0 shifts for individ. chan
Individual wire positioning (here!) not nec.
Residuals (mm)
Channel no.
isochrone
residual
distance
trackfit ( true track)

## Slide 9
Task: extract absolute time information from STT raw hits
Ref. time from other detectors (MVD, SciTil) not existend for all tracks in STT
Procedure for T0 determination
Step 1: hit to track association using raw hits
  Channel cluster (neighbour hits)
  Time cumulation
Step 2: Simple T0 calculation from sum of track hits (no fit!)
   r(t) / Nhits  2.5 mm (= avg. isochrone radius)
  Simplified r(t)  P0 + P1  (tdr – t0)
  Extract t0
Method: T0 Determination by STT

## Slide 10
Hit cluster finder
  STT characteristic: continuous tracking
    check neighbour straw & neighbout layer
  multi-space: straw & ∆layer/ TE-time/ LE-time
TE-time:  ~ 27 ns, but landau shape
~ 20-30% of hits in Landau tail
T0 Determination by STT (Step 1)
beam
Neighbour channel distance
TE-time (ns)
Deuteron beam
1.5 GeV/c
TE-time (ns)

## Slide 11
Investigate TE-time resolution (for deuteron testbeam & cosmic)
Covered dE/dx range ~ 5-50 keV/cm (= full signal dynamical range)
Cosmic tracks w/ large -angle range, but only 2D-tracking
Resolution:  ~ 25 ns (after cleanup)
Resolution slightly worse (~30ns) for cosmics as expected
TE-time is track specific (dE/dx), not event specific
T0 Determination by STT (Step 1)
Cosmic data,
raw hits,  = 30 ns
Deuteron
750 MeV/c,
hit cleanup,
 = 23 ns
TDC TE-Time (ns)
TDC TE-Time (ns)
TDC TE-Time (ns)
P/Mc
Raw hits
After hit cleanup
Cosmic

## Slide 12
Calculated T0 (ns)
Deuteron beam,
750 MeV/c, raw
hits,  = 7 ns
Calculate T0 from raw TDC candidate hits (sum up hits, T0=shift)
Calculated T0 in good agreement with T0 from TDC spectra
Note: single channel time offset shifts (TDC)
T0-resolution:  = 7 ns (~ 6 ns after hit cleanup)
T0 Determination by STT (Step 2)
T0 from TDC spectra (ns)
TDC LE-Time (ns)
Deuteron beam
750 MeV/c
Channel No.
Channel No.
Entries

## Slide 13: Tracking Results (In-beam) Spatial resolution
Isochrone residual (µm)
Design goal
p / Mc
    Isochrone residual () as spatial resolution
    Results well below design goal (150 µm), confidence for STT
    Measurements here at worst location (tube length middle)
    Straw tube alignment method by data-check
    Iterative calibration procedure (wire position and r(t))
P. Wintz, IKP FZJ
Hit filter (~ 15% -electr...)
not yet final
iteration
Isochrone Radius (mm)
Residual (mm)
Cosmic data (1 week)
isochrone
residual
distance
trackfit ( true track)

## Slide 14: PID Results (in-beam) Time-over-threshold (Preliminary)
Deuteron 2016, Ar/CO2(10%)
Deuteron 2018, Ar/CO2(20%)
Proton 2018, Ar/CO2(20%)
Proton 2018, Ar/CO2(20%),
diff. ASIC setting (gain 2)
p / Mc
 ToT /  dx (ns/mm)
    ToT results (deuteron, proton beam & cosmics)
    PID separation observable here:  ToT /  dx
    But: low truncation yet, analysis ongoing
    Optional: ToT – charge calibration (non-linear)
    Optional: other PID separation observable
P. Wintz, IKP FZJ
600 MeV/c
deuteron
 ToT /  dx (ns/mm), truncated
Radial track distance (mm)
Deuteron beam
1.5 GeV/c
Time-over-threshold (ns)
ToT/dx (ns/mm)
LE-time (ns)
Entries

## Slide 15: PID separation PWR Results (very Preliminary!)
Separation Power S
Radial track distance (mm)
Deuteron beam
1.5 GeV/c
Time-over-threshold (ns)
ToT/dx (ns/mm)
LE-time (ns)
ToT/dx
ToT time corrected,
ToT(time) fitted
TDR simulation (p/)
P. Wintz, IKP FZJ
p / Mc
Investigate different methods for S
Proton separation rel. to 2.5 GeV/c
PID observable ToTtime-corrected or ToT/dx
ToT/dx (red points)
  rough tracking for dx sufficient (online)
ToT| t-corr polynomial fit (blue pts)
  needs t0, (offline method?)
  track specific polynomial fit (dE/dx)
TDR results (black)
  purely simulation, pulse area (dE/dx)
  better separation around 0.5 GeV/c

## Slide 16
Thank you
for your
attention