## Slide 1: machine status
CRYRING@ESR
  Online commissioning with beam running since about Friday noon
      last week required some trouble shooting – model, power supplies, events, FESA etc.
      work on machine experiments this week
  electron cooler
      modification done – one successful filling achieved, final consolidation scheduled
      dry test of devices in DC mode prepared – to be conducted prob. this week
      found object in cooler, does not disturb much so far, but needs investigation
  bake out and detectors
      bake out of cooler caused leak, fixed for now – needs another intervention
      bake out of first detector started – will end this week to test the detector with beam
HITRAP
  tests ongoing – achieved storage times of several minutes for O8+
CRYRING@ESR & HITRAP