## Slide 1: HEST status
2018.09.25
m.sapinski

## Slide 2: Shielding
Three openings in the concrete shielding walls closed:
  cable tray
  cable duct
  better closing of holes in pion target bunker
hole in the wall

## Slide 3: Beam pipe inspection
Three sectors vented, opened in 6 places and inspected
  GTH2DK2, GTH2DKY, GTH2DKA, bellow next to GHADKY1, bellow next to GHADDK2, GHADDK3
  no obstacles found
  SEM of a PDC in GHADDK3 slightly bend – repaired in situ
  not enought activation to pinpoint beam loss location
view from GHADDK2 through pion target area
courtesy O. Geithner

## Slide 4: Preliminary ToDo list for engineering run (I)
Dry run
  check all equipment line-by-line, use the sequencer where it is possible
With beam
  HHD/HTP: measure extraction efficiency and fit beam optics using measurements from screen GS06DF, GTE1DK1/DF and GTH2DK4/DG (this is on HADES line)
  HADES:
    setup the beam to the target using low-energy beam (200 MeV/u), measure loss pattern using BLMs
    setup the beam to target using high-energy beam, measure loss pattern using BLMs
    check other optics (from Sebastian, Sabrina)
    spill-structure investigation, extraction efficiency versus sextupole settings

## Slide 5: Preliminary ToDo list for engineering run (II)
With beam (cd)
    HTC/HTD: bring beam to target, give mini-CBM some time to tune the detectors
    HTA/HTM: bring beam to the target, optimize beam spot
    ESR: establish injection, try extraction to Cryring