## Slide 1: PANDA-Meeting Autumn 2018
Magnetic field measurement of Microchannel-Plate-Photomultipliers
Photonis XP85112-Q-HA (SN 9002108)
and Hamamatsu R13266-07-M64M (SN YH0250)
06.11.2018
M. Németh-Csóka, M. Böhm, A. Lehmann, D. Miehling, M. Pfaffinger, S. Stelter

## Slide 2: Introduction of sensors
Requirements for usage of MCP-PMTs in the Barrel-DIRC
2x2 inch² sensors with 8x8 pixels each:
Photonis XP85112-Q-HA (SN 9002108)
Hamamatsu R13266-07-M64M (SN YH0250)
Picture of a Photonis-sensor

## Slide 3: Measurement setup
Dipole magnet
Measurement box for scanning across sensors

## Slide 4: Oscilloscope measurements
Determining gain of one pixel at different tilt angles and voltages
Photonis
Example for oscilloscope measurement

## Slide 5: Oscilloscope measurements
Photonis
Comparision of different tilt angles at a certain voltage

## Slide 6: Oscilloscope measurements
Hamamatsu

## Slide 7: Oscilloscope measurements
Hamamatsu
Comparision of different tilt angles at a certain voltage

## Slide 8: Oscilloscope measurements
Comparison with previous sensor types
Photonis
Hamamatsu
No ALD-protection-layer and no film

## Slide 9: TDC-Readout-Board (TRB) - measurements
Crosstalk
Example for a crosstalk-measurement with scanning in x-direction in 0,2mm steps
Hamamatsu:
U = 2600 V
Photonis:
U = 2200 V

## Slide 10: TRB-measurements
Crosstalk in magnetic field
Photonis
Hamamatsu
 Crosstalk decreases slightly

## Slide 11: TRB-measurements
Time resolution changes
Graphic: detected signal as a function of time
Photonis
Hamamatsu
Recoil-electron-peak „fuses“ with main peak
This effect remains static at higher magnetic field strenghts

## Slide 12: TRB-measurements
Afterpulsing
Photonis
Hamamatsu
Ionised particles produce a time-delayed signal
 afterpulse-signals tend to decrease at higher magnetic field
Graphic: detected signal as a function of time

## Slide 13: Conclusion
Impact of magnetic field:
Crosstalk  small decrease for both sensors
Time resolution  Photonis-sensor
Afterpulsing  tendency to decrease
Quelle: https://www.researchgate.net/figure/A-photomultiplier-the-first-detector-able-to-sense-a-single-optical-photon-is-shown_fig2_51537407
Quelle: https://www.gsi.de/work/forschung/experimentelektronik/digitalelektronik/digitalelektronik/module/trigger_synchronisation/trb.htm