| – minutes | Nr.: 20190524 |
| --- | --- |
| Minutes of the CR Control system, 24th May 2019, 2nd BINP-FAIR Collaboration Coordination workshop |  |

| Important: | How to treat this document: I: Information (by xy) P: Presentation R: Remark D: Decision Q: Question A: Action Item |
| --- | --- |
| Participants | R.Bär, O.Chorniy, A.Doering, O.Dolinskyy, R. Hettrich, I.Koop, O.Meshkov, I. Petzenhauser, K. Petrova, A.Rogovsky, H.Schwartz, D.Senkov, A.Starostenko, D.Shwartz, M. Thieme, A.Tzyganov, P.Shatunov |

| Topic | Due Date | Respsbl. |
| --- | --- | --- |

| - Control system |  |  |  |
| --- | --- | --- | --- |
| 1.1 | I (Ralph Bär): presentation |  |  |
| 1.2 | I (Ralph.Bär, Ivan Koop): Raphael Müller (GSI) (R.Mueller@gsi.de) and Alexander Senchenko (BINP) (senchenko.alexander@gmail.com ) are contact persons for communication between experts at FAIR Control System department and at BINP. |  |  |
| 1.3 | Q (Reiner Hettrich) Which are the interfaces between the middle tier (and above) and the components of the Front-End-Electronics near each single physical system? (Or simply: Which kind of connectors do I need to get a connection to the control system?) R (Ralph Bär) The interface standard is (Gigabit-) Ethernet (network-plugs of a special network segment) and an additional Fibre Channel Cable in case of time critical behaviour (trigger, synchronisation). For getting Equipment Control via the above mentioned cables/interfaces a 19‘ Rack from the control system group at GSI is needed. This Rack contains at least one so called Scalable Control Unit (SCU), a power supply, and a backplane for connecting further insertion-boxes. The Scalable Control Unit is a Computer, which was developed by the Control System Group and has interfaces to connect to the middle tier control system on the front and a lot of backplane pins to connect to several standardized interface cards on the rear side. There are several kinds of interface cards available from the control system group. The responsible person has to choose interface cards fitting to his interface electronics and add them to his backplane. In order to really control a component via the control system, additional software within a „FESA framework“ and at the presentation tier has to be written and tested. Q (Rainer Hettrich): How to you test the connection of the Front-End-Controller to your own hardware? R (Ralph Bär & Matthias Thieme): It is not possible to deliver a Middle Tier (and above) equipment for testing to a location outside GSI and it is not possible to have a full remote control connection between external hardware and the Middle Tier (and above) layer at GSI. (security reasons) It is not possible to have a remote Graphical User Interface (for example: Windows Remote Desktop) from any external place to the local Presentation Tier computers/hardware. (security and probably timing reasons?) But it is possible to get an „Example Box“, which contains a standard 19‘ Rack with a control computer, a power supply and some standard Input/Output Interface Cards (Details may be in some Technical Guidlines). The SCU-computer of this „Example Box“ contains the Gigabit-Ethernet Plug for the later connection to the Middle Tier of the control system. If you connect this plug with a computer and some kind of terminal software (probably PUTTY-Freeware?), it should be possible to give some „command line sequences“, which are understood by the „Example Box“ to set a certain signal at the output of an interface or read in the input of another on a card in the 19‘-Rack´s slot. Under some circumstances, it might be possible, that this works with a well-known user in a remote location and the „Example Box“ at GSI. There will be no analog cables between any machine like CR and the main control room. All connections have to be made via the prepared digital interface cards. For high demands there are high speed oscilloscopes available. The details must be obtained by special requests to the control system group. R (Ivan Koop): This is not possible. R (Rainer Hettrich): The digital data transfer causes a considerable latency for some critical systems. R (Ralph Bär): There will be high bandwidth low latency oscilloscopes available as interface cards for the SCU-Racks. |  |  |
| 1.4 | A (Ralph Bär) It is proposed to organize the visit of BINP experts to GSI in September 2019 in order discuss technical details of existing control system at CRYRING and other GSI machines. | 09/2019 | R.Bär / A.Senchenko |
| 1.5 | Q (Ivan Koop ) Are all tiers (FESA Resources FESA, Middle –power service, presentation) planned presently for the CR? I (Ralph Bär) All standard equipment/tool are planned based on the existing machines. Later similar systems will be implemented for FAIR machines including CR. We have to define, what is necessary specially for the CR, if there are system, which are not standard (for example Stochastic Cooling) I (Herbert Schwartz) One has to define and design the interfaces. I (Ivan Koop) Is any plans in MS project for CR control system) R (Ralph Bär) MS project plans for each machine at FAIR are still under development. |  |  |
| 1.6 | Q (Alexander Senchenko) BINP experts would like to reproduce/build a FAIR mini-control system at BINP using planned hard- and software components in order to perform FAT. R (Ralph Bär, Mattias Thieme ). GSI experts are ready to help BINP colleagues in preparation of FAIR mini control system at BINP. A list of needed components must be defined. Q (Dmitriy Senkov) Is it possible to implement triger /timing system at BINP similar to FAIR ? R (Ralph Bär) This is not possible, because the timing system a special ethernet network which is physically separated from the control system. Beside network infrastructure the timing network comprises one central timing master and facility wide distributed timing receiver nodes. The timing master is a clock master of absolute time for all timing receivers, clock and time synchronization are achieved by using White Rabbit, which requires also special high speed ethernet . In particular, the schedule of the timing master is pre-supplied by LSA, which must be done before commissioning. |  |  |
| 1.7 | Q (Alexander Senchenko) For testing diagostic components at BINP one needs some front-end electronica and software (Libera, FESA). R (Ralph Bär) FESA is not possible to deliver to BINP Q (Alexander Senchenko) What kind of systems are available for pulsed system (like kicker and septum magnets) . R. (Isfried Petzenhauser) There is some systems (ACU, pulse controllers, description). , which are presently developed for SIS100. It is useful if similar system will be implemented at CR as well . Q (Piotr Shatunov) Do you have this system now at GSI ? R. (Isfried Petzenhauser) This is still under development. As soon as they will be available, those system can be sent to BINP for test. |  |  |
| 1.8 | R (Dmitriy Senkov ) A special system must be foreseen for NMR (nuclear magnet resonance) field measurement in CR dipole |  |  |
| 1.9 | I (Oleksiy Dolinskyy) The information/documentation about CR systems one can find in EDMS under links https://edms.cern.ch/project/FAIR-000000077 https://edms.cern.ch/project/FAIR-000002333 If someone needs access right to EDMS folders, please contact Oleksii Gorda and Oleksiy Dolinskyy |  |  |