## Slide 1
MIMOSIS, a CMOS MAPS
for the CBM Micro Vertex Detector
supported by BMBF (05P12RFFC7), GSI (F&E) und HIC for FAIR
Thanks for asking questions.
M. Deveaux, Goethe-University Frankfurt, on behalf of the CBM-MVD collaboration
Design: 0V-1.54V
Design: 0.2V-1.8V
Chip1 VCasn
Super Region
Region
Pixel PE
•••
x8
Region U.
Super Region Unit
Pixel PE
•••
Region U.
•••
•••
Super Region Unit
x16
x4
Region PE
Elastic Buffer
Region PE
x1008
Pix.
Mux
8 bit DACs
MIMOSIS
MIMOSIS requirements:
Optimize for a fixed target environment:
 | MIMOSIS (design goal)
Spatial resolution | ~ 5 µm
Time resolution | ~ 5 µs
Collision rate (with MVD) | 100 kHz Au+Au 10 MHz p+Au
Counting rate | 70 MHz/cm² (peak)
Rad. tolerance | >1013neq/cm² + >3 Mrad
On-chip data reduction | ~20 to 2.6 Gbps (load averaging)
On-chip clustering | 1.5 D
Handle large occupancy gradients.
Tolerate strong beam fluctuations.
The CBM-MVD will be located 5-20 cm downstream the target.
10 AGeV Au+Au
MIMOSIS Sensor Concept:
CMOS Monolithic Active Pixel Sensor.
Pixel with in-pixel discrimination.
1024 x 504 pixel (26.88 x 30.24 µm²).
Zoom
Zoom
DC-coupled pixel inspired by ALPIDE.
AC-coupled pixel
=> Advanced depletion.
3-layer data concentrator for
spatial load balancing.
Pixel readout by priority
encoder (max. 10% occupancy)
Elastic buffer for load balancing in time.
Radiation test
Radiation test (zoom)
8-bit trim DACs create reference voltages
One DAC per chip and voltage
Shaper analog output (SF)
Comparator analog output(SF)
Tolerance to 20 Mrad seems satisfactory.
Remaining effects understood and being fixed.
Michael Deveaux
deveaux@physik.uni-frankfurt.de
MIMOSIS-0 prototype, test results:
Amplifier linearity
Pulse duration
Response to 55Fe
MIMOSIS-0
32 columns of 504 pixel.
Priority encoder.
AC and DC pixel version.
No data buffers yet.
Linearity
Internal DACs
Threshold linearity
8 x 320 Mbps max.
May use 1-8 parallel outputs to optimize
data rate vs. power dissipation
SIS18 beam fluctuations
(measured, not optimized)
ToT
Dead time
Pulse length
Ampl.
Pulse inj.
dt
dt
Jitter/Time walk
Response to pulsing
MV Bias1
Bias2
Comp
Amp
Dual Port
2 words of 1 bit
Charge inj.
160 aF
AC coupling
Sensing part
In-pixel Memory
Full custom digital
Shaping time few µs
Bias1
Charge inj.
160 aF
DC coupling
Pixel output
Amplification
Steering
Signal rise time: ~1µs