## Slide 1: machine status
CRYRING@ESR & HITRAP
CRYRING@ESR
  + stable operation of ion source (Mg+), ring, beam instrumentation
    discussion on results ongoing
  - electron cooler barely available
  - filling with LHe does not work properly
      created schedule and resource requirements with Cryoexperts
        next try to cool down May-21, if not successful try again on June-12
  - no attempt to operate in ramped mode
  - various control issues (especially e – current read out)
  dipole chamber YR08 removed, installation of new chamber ongoing
  prepare our participation in Dry run to test new CS release
  ECR source for C+ installation under preparation
  - June run about to be cancelled due to vacuum controls resources
HITRAP
  no activities