## Slide 1: PANDA The preliminary design of the control Dewar for solenoid magnet

## Slide 2: PANDA control Dewar
The PANDA control Dewar is designed to ensure helium delivery to the user in accordance with the flow scheme.
Figure 1. General view of the control Dewar.
Chimney
Control Dewar
- transfer lines (TL) connecting refrigerator and the control Dewar through a vacuum barrier
- transfer line (Chimney) connecting the vacuum vessels of cryostat and control Dewar
Technologic volume
Vacuum barrier

## Slide 3
PANDA solenoid, Flowscheme
Figure 2. Process Flow Diagram of the PANDA cryogenic system.

## Slide 4
Control Dewar consists of:
a vessel for liquid helium (~480L);
valves, gauges;
current leads;
AL thermal shields cooled by gaseous helium;
vacuum shell.
Figure 3. The main components of the control Dewar.
1
3
4
2
5

## Slide 5
Figure 4. Dimensions and weight of the control Dewar.
Weight control Dewar about 3160 kg. with vacuum post 3350 kg.
The surface of the common platform.
Flexible contact
2318.5mm

## Slide 6
PANDA solenoid 2019, Vacuum scheme control Dewar and cryostat
Leak Detector
RGA
S
Full range gauge
V1
DN150
V3
V4
Safety valve Flange DN350
TMP 680 l/sec
Primary pump
3-4 l/sec
Pirani
Control Dewar
Vacuum stand
V5
DN63
Technologic
volume
Cryostat
The PANDA Control Dewar and the Cryostat are a single vacuum volume
Figure 5.Vacuum scheme.

## Slide 7: PANDA control Dewars and cryostats vacuum
Chimney
Control Dewar
Full range guage
Cryostat
Pump station
Pump (680 l/s)
RGA
Primary pump
Pirani
Flange Kf25 for leak detector
Figure 6. PANDA control Dewar and cryostats vacuum.

## Slide 8: The stages of Assembly of the PANDA control Dewar:
Figure 7. The stage 1.
1. Installation of pipelines on the lid of the control Dewar
He vessel
Current
leads
Valves
Pipelines
Supporting top cover
Thermal shield

## Slide 9: The stages of Assembly of the PANDA control Dewar:
Figure 8. The stage 1.
1. Installation of pipelines on the lid of the control Dewar
4,2K
5K
40K
50K
1950
1100
The input of the Vacuum barrier

## Slide 10
Figure 9. The stage 2.
2. Installation of the thermal shields at the Pipelines assembly, and attached the thermal bridges
Pipeline 50K
Thermal bridge
AL Thermal
shield
m=1490 kg.

## Slide 11: Design of the Vacuum shell
Figure 10. Vacuum shell.
G10 supports
The Frame
Removable wall
Vacuum shell Assembly, top view.
The material of the frame and walls of the Vacuum shell is low alloy steel. m=1670 kg.

## Slide 12: The stages of Assembly of the PANDA control Dewar:
Figure 11. The stage 3.
3. Installation pipelines on the lid and thermal shields to the vacuum shell

## Slide 13: The interface of the PANDA control Dewar:
Chimney
Control Dewar
Shift the bellows unit
Combine the pipies in
accordance with the
flow scheme
-Carry out the connection of
the superconductor
-Carry out pipes connection
by welding
Install super insulation
Install the bellows unit in place
Install the front wall of the
thermal shield, fix the thermal bridges
Install the front wall of the Vacuum shell

## Slide 14: The Chimney design:
Flange ISO320RBR
Chimney
Pipelines
Bellows unit
Spacer
Thermal shield
Superconductor
Flange ISO320RBR
m=90 kg.

## Slide 15
Thank you for your attention